Flux Calculation steps

- Constant values used

R = 8.314 j mol-1 K-1

Assumed pressure : P= 101325 Pa

- Formula used for flux calculation in unit (mol m-2 s-1)

Flux =  P*V     x   slope

R*T*A      106*60

P= pressure in Pa

V= total volume of chamber

R= gas constant

T= Temperature in Kelvin

A= area of the chamber in m2 (0.05 m2)